## Sheet1
Section | Hypothesis | Initial design dive / how we'd test | Owner
1. Head-to-head with incumbents — prove we meet or beat on spec
Weight & ergonomics | astraX hits <1.5 kg fully loaded and is more comfortable in single-handed scrap-yard use than XL5 and X500 | Grip, center of Mass, | Steve-Gopi
Device ID | Best in class ID & UX(HW piece) | Good start, we need refine ID (Color, Materials, Symmetry, Logo). | Steve-Gopi
Small screen UX | Small screen UX is good for field customer | Design new small screen UX? | Vijay-Elango
Host PC/Tab/Cloud connectivity | Very friendly to connect with nearby Tablet/Phone/PC/Data to Cloud. OOB is intuitive. | BT or USB connection to Controller (Tab, Phone, PC) is intuitive and stable | Vijay-Elango
XRF performance — FWHM | Mn KAlpha at < 140eV at full temp range | Bench measurements at 0/25/45°C using NIST Mn target; compare against published incumbent specs and against our own teardown unit measurements; characterize FWHM drift vs. detector temp | Vijay
XRF performance — quant accuracy | GradeMatch + FP corrections are in, astraX matches incumbents on the top-20 alloys | FW with appropriate filters, Build a 20-sample reference set spanning common alloy families; blind A/B test astraX vs. a borrowed/used Vanta; publish accuracy delta; defer Haynes 230 / exotic alloys to v2 | Vijay-Jim B?
time to first result | astraX delivers actionable result in <2 s on 80% of scrap-yard alloys without sacrificing accuracy | Time-to-result distribution across reference alloy set at 90% and 95% confidence thresholds; compare median and tail vs. incumbent published specs and our teardown measurements | Vijay-Abhilash
Battery & temperature range | 8+ hr battery in field conditions; full spec compliance from -10°C to +50°C | Walk-around test at a partner scrap yard (or thermal chamber equivalent) with continuous duty cycle; thermal chamber sweeps; capture failure modes and shutdown behavior at the limits | Ramki-Sree
Safety | It is safe for user operation | Test for any leakage, Trigger operation is safe, User login | ?
Compliance | Comply with India regulations | ? | ?
IP rating & drop | IP54 + 1.2 m drop survival | Run formal IP54 ingress test at certified lab; 26-drop sequence per MIL-STD-810; document failures and design back into mech rev | Steve - Ravi
2. Cost differentiation — prove lean is structural, not temporary
Capital efficiency | Astra reaches first revenue with <30% of the capital that recent comparable analytical-instrument startups raised | Find what it costs to build a similar business in the US. | PM
AI-native operations | AI agent reduces support, sales-engineering, and ops cost by >40% vs. building those functions with people | Build Amazon like CX. Show specific automation to improve speed of Sales, Service, Manufacturing operations | PM
Manufacturing partner economics | India-based EMS partners (ARPSL, VVDN) deliver assembled boards at <50% of US/EU EMS quotes at the same yield | Compare cost with US manufacturing | PM
3. Vertical-complete solution — prove we win by going deep, not wide
Pick the lead vertical | Scrap metal recycling is the right first vertical: fastest sales cycle, clearest ROI story, easiest reference customers | Score scrap, mining, PMI, mfg QA on 6 axes (sales cycle length, ACV, regulatory burden, our XRF expertise, customer access, references); commit to ONE within 30 days; defer the rest | Vijay
Customer workflow ride-along | There are 10+ pain points in the scrap-yard buyer workflow that no incumbent solves | Spend 2 full days onsite at a target customer; shadow the buyer end-to-end from truck-in to ticket; document workflow pain points with photos and timestamps; build a 'jobs to be done' map | Vijay
Vertical SaaS — the 'beyond the gun' layer | Customers will pay subscription for a vertical SaaS that connects astraX to ticketing, pricing feeds, and chain-of-custody — separate from the instrument purchase | Mockup a vertical SaaS for scrap (ticket auto-fill, daily LME price overlay, compliance log); show to 5 prospects; measure willingness-to-pay separately from instrument; A/B test bundle vs. unbundle pricing | Vijay